{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["1"],"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"1","index":0,"n_rows":14,"n_cols":7,"rows_kept":14,"merged":[[1,0,1,6],[12,0,12,4],[12,5,12,6]],"flags":["formulas_cached_only"]}
[]
["珠海市卫生学校实训楼电梯口户外彩色电子屏采购及安装项目清单"]
[]
["序号","项目名称","数量","单位","单价","金额","备注"]
[1,"全户外彩色电子屏P4",5.55,"平方",null,null,"晶元芯片256*128mm\nIC明威（每平方62500颗灯珠）"]
[2,"LED全彩专用电源",52,"台",null,null,"LED全彩专用电源"]
[3,"控制系统",1,"套",null,null,"LED全彩专用控制系统"]
[4,"装饰架",7.47,"平方",null,null,"不锈钢骨架，环保板打底，表面装饰"]
[5,"户外音柱",1,"套",null,null,"双音箱，功放"]
[6,"避雷器",1,"套",null,null,"避雷器"]
[7,"配电箱",1,"台",null,null,"LED屏专用配电箱10KW，接触器、空开\n正泰电器，定时器\n"]
[8,"电路布装及网线",1,"项",null,null,"电缆，线管，超六类网线，五金配件"]
["合计："]
[{"$nulls":3},"  "]